## Slide 1: An introduction to MiniMPL for aerosol profile retrieval
Bo Chen
August, 2025

## Slide 2: Laser safety
MiniMPL uses a class 2 laser
Class 2 visible-light lasers are considered safe for unintentional eye exposure less than 1/4 second because a person will normally turn away or blink to avoid the bright light.
Do NOT deliberately stare into the beam -- this can cause injury to the retina in the back of the eye.
Be aware of beam reflections off glass and shiny surfaces.
No eye hazard for diffuse reflection exposure (safe to look at the laser dot scattered off a matt, non-reflective surface).
No skin or material burn hazard.

## Slide 3: Types of Atmospheric Lidar — by detection method and application (1)
Elastic (Mie/Rayleigh) lidar
  Detects at the same wavelength as the laser; measures aerosols and clouds.
  Example: Micropulse lidar (MPL), Ceilometers, CALIOP.
Raman lidar
  Detects inelastic scattering (shifted wavelength) from molecules; measures water mixing ratio, nitrogen.
  Example: PollyXT (TROPOS), ARM RLs.
High Spectral Resolution Lidar
  Separates molecular (Rayleigh) and particulate (Mie) scattering using spectral filters.
  Example: NASA HSRLs; ARM HSRLs.

## Slide 4: Types of Atmospheric Lidar — by detection method and application (2)
Doppler lidar
  Detects frequency shifts of backscattered light; measures wind speed and turbulence profiles.
Differential absorption lidar (DIAL)
  Transmits and receives at two closely spaced wavelengths; measures trace gas concentrations.
Polarization lidar
  Measures the depolarization ratio; differentiates spherical vs. non-spherical particles.

## Slide 5: Micropulse lidar
532 nm wavelength.
Detects backscatter and linear depolarization ratio.
Two versions: MiniMPL and MPL
Blind range: 100 m (MiniMPL), 250 m (MPL)
Range: 15 km (MiniMPL), 25 km (MPL)
Class 2 laser: visible, eye-safe for momentary unaided viewing; don’t use binoculars/optics
Notes: “Micropulse” means the lidar transmits very low-energy pulses (microjoules) at a high repetition rate (kHz)

## Slide 6: Micropulse lidar examples
Notes: NRB time series and depolarization

## Slide 7: Micropulse lidar examples
Notes: Warm cloud, ice cloud, and virga

## Slide 8: Micropulse lidar examples
Notes: 5km smoke layer from New Mexico

## Slide 9: MPL raw signal
  : MPL raw signal.
  : lidar range, height of the center of each signal bin.
  : overlap contribution.
  : background contribution.
  : afterpulse contribution.
  : dead-time factor.

## Slide 10: The lidar equation
  : the outgoing laser energy.
  : system calibration constant.
  : inverse-square law.
  : backscatter coefficient
  : transmittance

## Slide 11: Energy and range correction
  : Normalized relative backscatter. Also called attenuated backscatter.

## Slide 12: The lidar equation for a 2 component atmosphere
For a 2-component atmosphere
  and : backscatter coefficient for aerosol and air molecule.
  and : transmittance for aerosol and air molecule.

## Slide 13: Lidar ratio
An extinction-to-backscatter ratio (or lidar ratio) , with unit, can be applied to simplify the lidar equation.
, the aerosol lidar ratio, is constant with range and can be determined with a priori information.
, The lidar ratio for molecular scatterers, is a constant as .
Aerosol lidar ratios with expected uncertainties for tropospheric aerosol subtypes at 532 and 1064 nm in CALIOP version 3 and 4 aerosol retrieval algorithms.
Kim, M. H. et al. (2018). The CALIPSO version 4 automated aerosol classification and lidar ratio selection algorithm. Atmospheric measurement techniques.

## Slide 14: Using Beer-Lambert law
For molecular transmittance, apply lidar ratio
Take logs and rearrange
Exponentiate. Will use this later

## Slide 15: Solution to the 2-component lidar equation
For the aerosol transmittance term
Take derivatives of both sides
Apply to the lidar equation
Rearrange as

## Slide 16: Solution to the 2-component lidar equation
Which is a first order linear ODE. Applying the boundary condition , we have:
Recall
Sub back to the lidar equation

## Slide 17: Solution to the 2-component lidar equation
Solving for yields
With a priori information about the aerosol backscatter and extinction coefficient at the calibration range , the system calibration constant can be solved.

## Slide 18: Solution to the 2-component lidar equation
Plugging back
The integral is a constant and can be taken out of the integral

## Slide 19: Solution to the 2-component lidar equation
Therefore,
Cancel the term from numerator and denominator,
which leads to a numerical integration scheme. Let be the calibration range, and assume:

## Slide 20: Solution to the 2-component lidar equation
Then one step above the calibration range we get
One step below the calibration range we get

## Slide 21: Linking aerosol to backscatter coefficient
The aerosol volume backscatter coefficient is given by:
: aerosol diameter
: aerosol size distribution
: aerosol backscatter efficiency, which can be calculated using Mie theory for spherical aerosol or T-matrix method for spherical and non-spherical aerosol.
: the complex refractive index
: wavelength
: aerosol volume number density

## Slide 22: Rayleigh scattering profile
The lidar backscatter coefficient of atmosphere molecular scattering is proportional to air density. Rayleigh scattering backscatter coefficient can be calculated by:
where
while
and .

## Slide 23: Retrieval examples

## Slide 24: Retrieval examples

## Slide 25: Retrieval examples

## Slide 26: Reference
Fernald, F. G. (1984). Analysis of atmospheric lidar observations: some comments. Applied optics, 23(5), 652-653.
Campbell, J. R., Hlavka, D. L., Welton, E. J., Flynn, C. J., Turner, D. D., Spinhirne, J. D., ... & Hwang, I. H. (2002). Full-time, eye-safe cloud and aerosol lidar observation at atmospheric radiation measurement program sites: Instruments and data processing. Journal of Atmospheric and Oceanic Technology, 19(4), 431-442.